MEZZANINE
Wire mesh
to GATS7
OBSERVATION PAD
Spectrograph thermostatic box
SBIG
ST-7
USB to GATS7
SBIG
Filter wheel
to GATS8
SBIG
All-sky
RS232 to GATS7
Iodine
Cell
to relay box
Label
Therm-higr-baro
to Label ethernet
Andor
IXon3
PCI to MAGMA
a-box
to GATS8
28m thin fiber
metal tubing
SBIG
ST-7
USB to GATS8
CDK700
Electronics
192.168.10.40
SBIG
ST-7
USB to GATS1
M3
Andor
Ikon-L
USB to GATS1
CDK700
USB to GATS9
Label
dual- thermo
to Label Ethernet
5m thick fiber
blue tubing
KVM
192.168.1.115
Shelyak
calib. Lamps
RS232 to GATS8
Transformer
Win PC
GATS9
192.168.1.209
Druck DPI 740
Barometer
RS232 to GATS1
Label
Ethernet
192.168.1.121
Arduino
Sensors
USB to GATS1
Magma PCI
PCI to GATS7
router
192.168.1.1
switch
Elmetron
Thermometer
RS232 to GATS1
relay box
192.168.1.130
KVM
192.168.1.113
KVM
192.168.1.116
switch
KVM
192.168.1.111
Linux PC
GATS7
192.168.1.207
Linux PC
GATS8
192.168.1.208
UPS
192.168.1.120
relay box
192.168.1.131
Spectrograph electronic box
Linux PC
GATS1
192.168.1.201
Oasis
chiller
UPS box
Telescope box
2016-02-02, KK
Guider scope
FLI filter wheel
to GATS8
rot. & foc.
rot. & foc.