TELESCOPE
[1]
Planewave CDK700 OTA
UAM: 60/001948
d=700mm
f=4638mm
Wire mesh
+ arduino
controller
USB to GATS7
USB
gray
Aluminum
counter-
weight
[12]
SkyWatcher
guider scope
d=102mm
f=500mm
[8]
SBIG CCD
ST-7XE
SN: 03013272XE
UAM: 537-00051
USB to GATS7
Power, black
USB, black
[11]
SBIG CFW-8
Filter wheel
Black
pipe
[9]
Andor CCD
Ixon X3
SN: X-5743
UAM: 80/004269
PCI to Magma/GATS8
[6]
Iodine
cell
to relay box
[10]
FLI
Filter
wheel
SN:
FW0213111
l=21.5mm
USB to GATS8
[4]
Rotating
focuser
[5]
Rotating
focuser
gray
cable
[15]
28m 50μ
silver metal
[7]
Shelyak
Acquisition box
SN: 5H-127
to Shelyak box
Black
extension
tubes
l=85.2mm
4 pieces
Black
extension
tubes
l=58.5mm
2 pieces
[13]
SBIG
Allsky 340
camera
SN: AS1011241
RS232 to GATS7
power, black
Power
black
[11]
SBIG CCD
ST-7XME-D
SN: 11014430
USB to GATS8
rs232, gray
[43]
5m
200μ
blue fiber
power
gray
USB
gray
black
power
white
signal
M3 mirror
(inside)
[3]
CDK700
electronics
LAN to GATS9
192.168.10.40
[6]
black
[6]
black
power/
open
[4]
Rotating
focuser
connector
box
[5]
Rotating
focuser
connector
box
emergency
[1]
Planewave CDK700 mount
UAM: 60/001948
USB to GATS9
[10]
USB
silver
[10]
power
gold
power
motors
power
light bulb thermostat
power
LAN
gray
telescope power and control cables
3 yellow + 4 yellow
USB
black
light bulb thermostat (gray)
abox power (black)
5-socket power strip
power strip
12 cables + 1 fiber (blue, plastic tube)
to telescope pc box [39]
ON
OFF
3 cables
to telescope pc box [39]
1 fiber (silver, metal tube)
to spectrograph [36]
to telescope pc box [39]
(black)
2016-01-21, KK